Intro:
This is the developer notes for HealView written by Rowan Fraser. HealView is a platform for visualizing patient data and ultrasound waves through patients. This software was created for the UTDesign senior design project of spring 2022, sponsored by Dr. Fei.

Philosophy: The core of this application is piping values from one module to another and having each module preform its own separate function. Within these pipes information broken up as tokens will indicate how the module should process and potentially render this information. An example is the pipe from the File Explorer which will at bear minimum pipe the folder path location to a 3D array generator module. Additional information can be piped such as a language token or other additional options added later. This can cause some waste such as piping information to a module that is useless to that individual module and only useful to a subsequent module, however in order to maintain ease of development in the long term by maintaining a clear and consistent piping structure this minor waste in information is considered tolerable.

Additionally with regard to the UI, each parent Unity object within the Mixed Reality Scene Content will be considered its own module and can have UI or rendering components. Each module can only be in control of its own UI or rendering or its own children and must pipe updates to any other module if new information needs to be passed. Once again this can be slightly less efficient than interfacing with render methods directly, but it leads to easier development over time.

Try to path tokens in order of importance, as in data used in functions first, UI information after, and auxiliary features last.

How a module interacts with itself is up to individual module needs and has no formal standard so long as the input and output from the pipes remains accurate to desired operation. A module should when receiving new information clear all previous results, settings, and renders that needs to be updated and all current operations involved with previous updates, including asynchronous ones, to ensure no errors.

!!! Exceptions:

This program is expected to operate synchronously for the piping between module, that meaning that each module can have asynchronous operations within but the sequence of modules is linear and the transferal of data between modules is synchronous. This allows for their to be one major exception to the piping infrastructure, that being the loading bar on the UI component. All modules are free to access this component and pipe in any information they like at any time. The reasons for this is that this ensures we don’t need a different loading object for each module, as the UI exclusive module doesn’t effect any later on modules therefore it can’t cause any errors in data flow, and given that their shouldn’t be 2 modules operating at once this shouldn’t cause any errors.

Additional exceptions are the palm menu and information menu. Throughout events can be fired to the main palm menu and information menu to expand and gain additional buttons to control how the loaded information is rendered. This is done to keep all the controlling options and information available from a single menu for convenience. This can be justified in a similar manner to the UI component in that it shouldn’t effect any further information through the piping. Given that these are integrated a bit more in the mechanics of how modules operate, these components will naturally lead to a greater likelihood for problems in comparison to the loading bar and as a result will require a greater degree of oversight.

How it’s expected to works:
When starting the program one first starts with an empty screen with a single floating menu. This menu will float next to the users upward facing palm only if the user looks at their palm.

This floating menu has buttons:
Folder Explorer
MRTK Settings
How to Use
Close
(Stretch Goal) Language Settings

The Folder Explorer button activates a module that opens a menu to allow for the selection of what folder the DICOM files will be selected from. This file browser should be compatible for both streaming information to the screen of the HoloLens and within the HoloLens using UWP functions to access the internal file browser of the HoloLens. This information is piped into a 3D array generator module and information module as those are the 2 modules that need path data.

The MRTK Settings button opens a menu that controls debug options of the application, such as:
Profiler for CPU usage, framerate, and memory consumption.
Hand ray that shows where the user is pointing.
Hand mesh that shows a basic mesh for the users hand.
Hand joint that shows how the Unity program views the position of the hand.

The How to Use Button will open a page that indicates to the user how to use the program.

The Close button closes the hand menu, but the main palm menu can be re-summoned if the user looks at their upward facing palm.

(Stretch Goal) The Language Settings button will open a drop down menu that allows the use to select currently supported languages. This information will effect the text on the main menu and be piped to subsequent modules with the folder path data.

When a folder is selected from the Folder Explorer this path information is passed to the load DICOM array module which will proceed to load the DICOM module’s 3D array of data points along with some other useful information to pass to other components. The path information will also be passed to the information menu to which will find tags and their values from a created table of known tags.

Once the array information has been loaded the main palm menu will expand to include 3 more buttons:
DICOM Information
Mode
Options
(Stretch Goal) Marker Options
(Stretch Goal) Refocus Model
(Stretch Goal) Compute US Transducer

The DICOM Information button will show the known tags and their values along with some explanations for what they are. Depending on the mode it will also show tracking information such as the location of the known mesh and the distance between it and the HoloLens and the distance between the HoloLens and the transducer.

The Mode button will allow the user to select between DICOM model render and Target tracking model. This will affect a variety of options for all subsequent modules.

The Options button will pull up an options menu. This options menu will be per mesh meaning that one will start by clicking a plus sign and then accessing options of the mesh with the plus sign shifting over to make way for the new options whilst still allowing the addition of further meshes.
The options menu will be used to select what options are used to render the mesh. Current planned options are render type (Voxel or Mesh enum), color and transparency (RGBA), wireframe (bool), wireframe color (RGBA if wireframe bool is true), threshold (if mesh is selected one node slider, if voxel is selected two node slider), scale (float), (Stretch Goal) Cut tool to remove voxels in plane (if voxel is selected), Enable cropping planes (3 2 node sliders), load US permutation data, and (Stretch Goal) save and load settings of mesh. Options that can’t be selected are grayed out.

(Stretch Goal) The Marker Options button will allow the user to set the position of the tracking markers relative to the source data their being applied to. This would likely be done through x, y, or z layer cutting until the region that one wants to place the marker on has been reached. Then define the dimensions of the marker and apply it to a particular location using float value offsets. Additionally identifying data for each marker can be set, such as QR text.

(Stretch Goal) The Refocus Model will bring the main model back into focus in case the user has moved it too far away.

(Stretch Goal) The Compute US Transducer button will cause the mesh to open up a pop-up that allows the user to define linear permutation of regions of the DICOM file. After conditions have been input and a compute button has been pressed it will then compute what is the best transducer for this task and display the transducer value along with the permeation of US wave throughout. The program will continue to display this and give the option to save the data for later.